Eurofins EPK Built Environment Testing, LLC
111 Anza Boulevard, Suite 122, Burlingame, CA 94010
(833) 465-5857  www.eurofinsus.com/Built

Client: EMLab P&K (QA)
C/O: Mr. Quality Control
Re: Sample Report	Date of Sampling: 02-01-2013
Date of Receipt: 02-01-2013
Date of Report: 02-08-2013	

CULTURABLE AIR FUNGI REPORT

Lab ID-Version‡
Location	Air vol.
(L)	Medium	Dilution
Factor	Bacterial ID	Colony
Counts	CFU/m3	%	
4590863-1
1
Outside Reference

	85

	MEA

	N/A

	Alternaria
Aspergillus niger
Aspergillus versicolor
Basidiomycetes
Cladosporium
Non-sporulating fungi
Penicillium
	1
3
1
1
26
5
2
	12  
35  
12  
12  
320  
59  
24  
§ Total: 470  	3  
8  
3  
3  
68  
13  
5  
	
Comments: 	
4590864-1
2

	85

	MEA

	N/A

	Aspergillus niger
Cladosporium
Non-sporulating fungi
Penicillium
Yeasts
	1
13
1
5
1
	12  
150  
12  
59  
12  
§ Total: 250  	5  
62  
5  
24  
5  
	
Comments: 	
4590865-1
3

	85

	MEA

	N/A

	Acremonium
Aspergillus terreus
Cladosporium
Penicillium
	1
2
9
36
	12  
24  
110  
450  
§ Total: 590  	2  
4  
18  
76  
	
Comments: 	

The limit of detection is 1 raw count per volume of air sampled. The analytical sensitivity is 1 raw count/volume x the positive hole correction factor.

‡ A "Version" indicated by -"x" after the Lab ID# with a value greater than 1 indicates a sample with amended data.  The revision number is reflected by the value of "x".
§ Total has been rounded to two significant figures to reflect analytical precision.