Client: EMLab P&K (QA)
C/O: Mr. Quality Control
Re: Sample Report	Date of Sampling: 02-01-2013
Date of Receipt: 02-01-2013
Date of Report: 02-08-2013	

Culturable Fungi, Air

Location:	1:
Outside Reference	2	3	
Comments (see below)	None	None	None	
Lab ID-Version:	4590863-1	4590864-1	4590865-1	
Analysis Date:	02/08/2013	02/08/2013	02/08/2013	
Medium:	MEA	MEA	MEA	
	raw ct.	cfu*/m3	raw ct.	cfu*/m3	raw ct.	cfu*/m3	
Acremonium					1	12	
Alternaria	1	12					
Aspergillus niger	3	35	1	12			
Aspergillus terreus					2	24	
Aspergillus versicolor	1	12					
Basidiomycetes	1	12					
Bipolaris/Drechslera group							
Botrytis							
Chaetomium							
Cladosporium	26	320	13	150	9	110	
Curvularia							
Epicoccum							
Fusarium							
Non-sporulating fungi	5	59	1	12			
Paecilomyces							
Penicillium	2	24	5	59	36	450	
Phoma							
Rhizopus							
Stachybotrys chartarum							
Ulocladium							
Yeasts			1	12			
Positive Hole	400		400		400		
Sample volume (liters)	85		85		85		
§ TOTAL CFU*/M3		470		250		590	

* cfu = colony forming units
Comments: