Eurofins EPK Built Environment Testing, LLC
111 Anza Boulevard, Suite 122, Burlingame, CA 94010
(833) 465-5857  www.eurofinsus.com/Built

Client: EMLab P&K (QA)
C/O: Mr. Quality Control
Re: Sample Report	Date of Sampling: 02-01-2013
Date of Receipt: 02-01-2013
Date of Report: 02-08-2013	

CULTURABLE AIR FUNGI REPORT

Lab ID-Version‡
Location	Air vol.
(L)	Medium	Dilution
Factor	Bacterial ID	Colony
Counts	CFU/m3	%	
4590992-1
1
Outside Reference

	85

	MEA

	N/A

	Alternaria alternata
Aspergillus flavus
Aspergillus versicolor
Aureobasidium pullulans
Cladosporium
Non-sporulating fungi
Penicillium
Rhizopus stolonifer
Yeasts, other
	1
1
3
1
15
2
11
1
1
	12  
12  
35  
12  
180  
24  
130  
12  
12  
§ Total: 420  	3  
3  
8  
3  
42  
6  
31  
3  
3  
	
Comments: 	
4590993-1
2

	85

	MEA

	N/A

	Aspergillus niger
Aspergillus ustus
Aspergillus versicolor
Cladosporium
Non-sporulating fungi
Penicillium
Stachybotrys chartarum
Yeasts, other
	2
10
6
54
1
39
2
2
	24  
120  
71  
680  
12  
480  
24  
24  
§ Total: 1,400  	2  
8  
5  
48  
1  
34  
2  
2  
	
Comments: 	
4590994-1
3

	85

	MEA

	N/A

	Alternaria alternata
Aspergillus niger
Aspergillus versicolor
Cladosporium
Penicillium
Ulocladium botrytis
	1
3
3
20
16
1
	12  
35  
35  
250  
190  
12  
§ Total: 530  	2  
7  
7  
47  
36  
2  
	
Comments: 	

The limit of detection is 1 raw count per volume of air sampled. The analytical sensitivity is 1 raw count/volume x the positive hole correction factor.

‡ A "Version" indicated by -"x" after the Lab ID# with a value greater than 1 indicates a sample with amended data.  The revision number is reflected by the value of "x".
§ Total has been rounded to two significant figures to reflect analytical precision.