{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Lab Report 8183887"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Lab Report 8183887","index":0,"n_rows":24,"n_cols":7,"rows_kept":24,"cut":false,"hidden":false,"merged":[[5,1,5,2],[5,3,5,4],[5,5,5,6],[6,1,6,2],[6,3,6,4],[6,5,6,6],[7,1,7,2],[7,3,7,4],[7,5,7,6],[8,1,8,2],[8,3,8,4],[8,5,8,6],[9,1,9,2],[9,3,9,4],[9,5,9,6],[10,1,10,2],[10,3,10,4],[10,5,10,6],[11,1,11,2],[11,3,11,4],[11,5,11,6],[12,1,12,2],[12,3,12,4],[12,5,12,6],[13,1,13,2],[13,3,13,4],[13,5,13,6]],"flags":["formulas_cached_only"]}
[]
["Client: EMLab P&K (QA)",null,"Date of Sampling: 10-18-2017"]
["C/O: Mr. Quality Control",null,"Date of Receipt: 10-18-2017"]
["Re: Sample Report",null,"Date of Report: 11-01-2017"]
[]
["Location:","1: Sink","","2: Faucet","","3: Cooling Tower",""]
["Comments (see below)","None","","None","","None",""]
["Lab ID-Version:","8540674-3","","8540675-2","","8540676-2",""]
["Analysis Date:","11/01/2017","","11/01/2017","","11/01/2017",""]
["Sample type","Swab sample","","Water sample","","Water sample",""]
["Volume filtered (ml)","N/A","","200","","N/A",""]
["Reporting Units","1 swab","","1 ml","","1 ml",""]
["Detection Limit","< 20","","< 0.1","","< 4",""]
["Analytical Sensitivity","< 40","","< 0.1","","< 8",""]
["","raw ct.","cfu*/unit","raw ct.","cfu*/unit","raw ct.","cfu*/unit"]
["L. pneumophila serotype 1",{"$nulls":4},1,8]
["L. pneumophila serotype 2-14"]
["Other Legionella species",null,null,10,1]
["TOTAL Legionella","ND","< 40","10","1","1","8"]
["*cfu = colony forming units        ND = none detected"]
["Comments:"]
[]
["Eurofins EPK Built Environment Testing, LLC"]
["EMLab Id: 1824173"]